{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["Sheet1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":94,"n_cols":9,"rows_kept":94,"merged":[[0,0,0,8],[1,0,1,6],[1,7,1,8],[85,0,85,7],[86,0,86,8],[87,0,87,8],[88,0,88,7],[90,0,90,8],[91,0,91,8],[92,0,92,8],[93,0,93,8]],"flags":["formulas_cached_only"]}
["武汉产品质量检验所有限公司-经营服务性项目收费标准"]
["注：本收费标准中未列的检定、校准、检测项目或超规程/规范检测需求的收费，由双方协商确定"]
["序号","器具名称","器具别名","准确度等级","测量范围","检测费","附加费","收费单位","检测费说明"]
[1,"钢直尺",null,"MPE:±(0.1～0.35)mm","1m<L≤2m",50,null,"把"]
[2,"钢直尺",null,"MPE:±(0.1～0.35)mm","≤1m",18,null,"件"]
[3,"钢卷尺","带锤钢卷尺","I级及以下","(1～100)m",35,4,"件","5米以上每米加4"]
[4,"金属量器",null,"三等及以下","(5～100)L",400,null,"台"]
[5,"定量灌装机",null,"定重式： MPE:±0.2％及以下（定重式：(0.1～60)kg）\n定容式：MPE:±1％及以下（定容式：5ml～50L）","单头",500,null,"台"]
[6,"定量灌装机",null,"定重式： MPE:±0.2％及以下（定重式：(0.1～60)kg）\n定容式：MPE:±1％及以下（定容式：5ml～50L）","(2～100)头",1000,null,"台"]
[7,"定量灌装机",null,"定重式： MPE:±0.2％及以下（定重式：(0.1～60)kg）\n定容式：MPE:±1％及以下（定容式：5ml～50L）","100头以上",1200,null,"台"]
[8,"砝码",null,"F2","(1～500)mg",50,null,"个"]
[9,"砝码",null,"F2","(1～500)g",60,null,"个"]
[10,"砝码",null,"F2","(1～20)kg",130,null,"个"]
[11,"砝码",null,"M1","(10～500)mg",30,null,"个"]
[12,"砝码",null,"M1","(1～500)g",40,null,"个"]
[13,"砝码","链码","M1","(1～20)kg",70,null,"个"]
[14,"砝码","链码","M1","(25～50)kg",150,null,"个"]
[15,"砝码","链码","M1","(50～100)kg",320,null,"个"]
[16,"砝码","链码","M1","(200～500)kg",380,null,"个"]
[17,"砝码","链码","M1","1000kg",500,null,"个"]
[18,"砝码",null,"M2、M3","(1～500)g",20,null,"个"]
[19,"砝码",null,"M2、M3","(1～20)kg",30,null,"个"]
[20,"砝码",null,"M2、M3","(25～100)kg",100,null,"个"]
[21,"砝码",null,"M2、M3","(200～1000)kg",400,null,"个"]
[22,"电子天平",null,"Ⅰ","≤500g",500,null,"台"]
[23,"电子天平",null,"II及以下","≤30kg",300,null,"台"]
[24,"衡器","电子秤、电子台秤、电子吊秤、模拟指示秤、非自行指示秤等","III","（0～30）kg",100,null,"台","最大称量≤30kg"]
[25,"衡器","电子秤、电子台秤、电子吊秤、模拟指示秤、非自行指示秤等","III","（30～150）kg",150,null,"台"]
[26,"衡器","电子秤、电子台秤、电子吊秤、模拟指示秤、非自行指示秤等","III","150kg<m<1000kg ",300,null,"台"]
[27,"衡器","电子汽车衡、电子秤、电子台秤、电子吊秤、模拟指示秤、非自行指示秤等","III","1000kg≤m≤3000kg ",700,null,"台"]
[28,"衡器","电子汽车衡、电子秤、电子吊秤、模拟指示秤、非自行指示秤等","III","5t",800,null,"台"]
[29,"衡器","电子汽车衡、电子秤、电子台秤、电子吊秤、模拟指示秤、非自行指示秤等","III","10t",1600,null,"台"]
[30,"衡器","电子汽车衡、电子秤、电子吊秤、模拟指示秤、非自行指示秤等","III","15t",2000,null,"台"]
[31,"衡器","电子汽车衡、电子秤、电子吊秤、模拟指示秤、非自行指示秤等","III","20t",2600,null,"台"]
[32,"衡器","电子汽车衡、电子秤、电子吊秤、模拟指示秤、非自行指示秤等","III","30t",3000,null,"台"]
[33,"衡器","电子汽车衡、电子秤、电子吊秤、模拟指示秤、非自行指示秤等","III","50t",3800,null,"台"]
[34,"衡器","电子汽车衡、电子秤、电子吊秤、模拟指示秤、非自行指示秤等","III","60t",4200,null,"台"]
[35,"衡器","电子汽车衡、电子秤、电子吊秤、模拟指示秤、非自行指示秤等","III","70t",4200,null,"台"]
[36,"衡器","电子汽车衡、电子秤、电子吊秤、模拟指示秤、非自行指示秤等","III","80t～150t",4500,null,"台"]
[37,"非连续累计自动衡器","累计料斗秤","0.2，0.5，1，2","≤1000t/h",3000,null,"台"]
[38,"非连续累计自动衡器","累计料斗秤","0.2，0.5，1，2","＞1000t/h",4000,null,"台"]
[39,"电子皮带秤",null,"0.2，0.5，1，2","≤1000t/h",4000,null,"台"]
[40,"电子皮带秤",null,"0.2，0.5，1，2","＞1000t/h",5000,null,"台"]
[41,"重力式装料衡器","自动检重秤，定量包装秤","X(0.2)，X(0.5)，X(1.0)","50kg以下",1200,null,"台"]
[42,"重力式装料衡器","自动检重秤，定量包装秤","X(0.2)，X(0.5)，X(1.0)","50kg以上",1600,null,"台"]
[43,"配料秤","混凝土配料秤","1%～2%","6个秤以上",2400,null,"台"]
[44,"配料秤","混凝土配料秤","1%～2%","6个秤及以下",1200,null,"台"]
[45,"动态汽车衡","动态汽车衡","(0.2～10)级","单秤台",5000,null,"台"]
[46,"动态汽车衡","动态汽车衡","(0.2～10)级","双秤台",8000,null,"台"]
[47,"动态汽车衡","动态汽车衡","(0.2～10)级","整秤台",10000,null,"台"]
[48,"便携式动态轴重仪","便携式动态轴重仪","5级、10级","≤100t",3000,null,"台"]
[49,"质量比较仪",null,null,"<500kg",680,null,"台"]
[50,"质量比较仪",null,null,"500kg",5000,null,"台"]
[51,"质量比较仪",null,null,"1000kg",10000,null,"台"]
[52,"立式金属罐",null,"0.1%～0.3%","（20～100000）m3",1100,null,"台","光学垂准线法、光电测距法：基价上，每1m3加收2元"]
[53,"立式金属罐","外浮顶式金属罐","0.1%～0.3%","（20～100000）m3",1400,null,"台","光学垂准线法、光电测距法：基价上，每1m3加收2元"]
[54,"立式金属罐","内浮顶式金属罐","0.1%～0.3%","（20～100000）m3",1400,null,"台","光学垂准线法、光电测距法：基价上，每1m3加收2元"]
[55,"卧式金属罐",null,{"v":0.004,"d":"0.40%"},"(10～1000)m3",1000,null,"台","几何测量法，基价上，每1m3加收2元"]
[56,"球形金属罐",null,{"v":0.003,"d":"0.30%"},"50m³以上",1000,null,"台","基价上，每1m3加收2元"]
[57,"汽车油罐车",null,{"v":0.0025,"d":"0.25%"},"大于2m³",1200,null,"台","10m3以上每超1m3加收100元"]
[58,"船舶计量舱",null,"0.2%～0.4%"," 小型舱：单舱总容量≤300m3         大型规则舱：单舱总容量＞300m3；                   大型不规则舱：单舱总容量＞300m3",1500,null,"台","基价上，每1m3加收8元"]
[59,"燃油加油机",null,"MPE:±0.3%","（0.01～9999.99）L               最大流量：≤100L/min",600,null,"台"]
[60,"车用尿素加注机",null,"MPE:±0.5%","（0.01～9999.99）L               最大流量：≤100L/min",2000,null,"台"]
[61,"液体容积式流量计","腰轮、椭圆齿轮、双转子流量计等","0.2级及以下","公称直径（15～50）mm，流量范围≤120m3/h",800,null,"台"]
[62,"液体容积式流量计","腰轮、椭圆齿轮、双转子流量计等","0.2级及以下","公称直径（80～100）mm，流量范围≤120m3/h",1000,null,"台"]
[63,"涡轮流量计",null,"0.2级及以下","公称直径（15～50）mm，              流量范围≤120m3/h",900,null,"台"]
[64,"涡轮流量计",null,"0.2级及以下","公称直径（80～100）mm，流量范围≤120m3/h",1300,null,"台"]
[65,"质量流量计",null,"0.2级及以下(标准表法)","公称直径（15～100）mm，容量密度法： 流量范围≤120m3/h",3000,null,"台"]
[66,"质量流量计",null,"0.2级及以下(容量密度法)","公称直径（15～50）mm，容量密度法:流量范围≤120m3/h",1200,null,"台"]
[67,"质量流量计",null,"0.2级及以下(容量密度法)","公称直径（80～100）mm，容量密度法： 流量范围≤120m3/h",1500,null,"台"]
[68,"电磁流量计",null,"0.2级及以下","1.质量法：公称直径（15～50）mm 流量范围（0.5～29）m3/h； 2.容积法：公称直径（15～100）mm     流量范围≤120 m3/h",800,null,"台"]
[69,"自动收、付油系统","自动收、付油系统","0.2级及以下","公称直径（15～100）mm 流量范围≤120 m3/h",10000,null,"台"]
[70,"可燃气体报警器",null,"MPE:±5%FS及以下","(0～100)%LEL",400,null,"台"]
[71,"硫化氢气体检测仪",null,"摩尔分数≤100×10-6：±5umol/mol                 摩尔分数>100×10-6：±5%FS及以下","(0～100)umol/mol",450,null,"台"]
[72,"一氧化碳检测报警器",null,"MPE:±5umol/mol或相对误差±10%及以下","(0～1000)umol/mol",350,null,"台"]
[73,"二氧化硫气体检测仪",null,"MPE:±5%FS及以下","(0～20)umol/mol",350,null,"台"]
[74,"氯气检测报警器",null,"MPE:±10%FS及以下","(0～20)umol/mol",900,null,"台"]
[75,"氨气检测报警器",null,"MPE:±10%FS及以下","(0～100)umol/mol",450,null,"台"]
[76,"容重器",null,"衡器：Ⅲ  容量筒：MPE：±2.0ml "," 称重系统：1kg 容积筒：1000mL",300,null,"台"]
[77,"饮用量器",null,"(20～50)mL MPE：±4%、   (100～500)mL MPE: ±3%、   (1～5)L MPE: ±2% ","(20～50)mL、(100～500)mL、(1～5)L",80,null,"台"]
[78,"压缩天然气加气机",null," MPE: ±1% ","流量范围：≤70 kg/min",600,null,"台"]
[79,"液化石油气加气机",null,"MPE: ±1% ","流量范围：≤50 L/min",10000,null,"台"]
[80,"液化天然气加气机",null,"MPE: ±1.5% ","流量范围：(3～80)kg/min",10000,null,"台"]
[81,"加氢机",null,"MPE: ±1.5%","流量范围≤7.2kg/min",10000,null,"台"]
[]
["1、武汉市内派车交通费收费标准如下：（不包括大型检衡车和流量计上门检测）"]
["第一档：100元，包括汉阳区、武汉经济开发区（不含汉南区）、硚口区、江汉区、江岸区、武昌区、洪山区、东湖高新、东湖风景区、青山区。"]
["第二档：150元，包括汉南区、蔡甸区、黄陂区、江夏区、新洲区、东西湖区（临空港经济开发区）、长江新区。"]
["2、武汉市外派车交通费收费标准如下：（不包括大型检衡车和流量计上门检测）"]
["每公里1.5元（往返计程），路桥费据实结算。"]
["3、大型检衡车派车交通费：武汉市内不分区域按照500元/次收取(同日检测不重复收取)，武汉市外按照每公里3.5元（往返计程），路桥费据实结算。"]
["4、动态汽车衡检定交通费：武汉市内不分区域按照2000元/台次收取(按天收取)。"]
["5、流量计上门检测交通费：武汉市内不分区域按照2000元/次收取(同日检测不重复收取)，武汉市外按照每公里3.5元（往返计程），路桥费据实结算。"]
["6、加油机、车用尿素加注机等上门检测交通费：武汉市内不分区域按照500元/次收取(同日检测不重复收取)，其他地市另行协商。"]